## MAS Report
AE PHE PROJECT SUB DN STORE UJJAIN 31.10.2017 to 04.11.2017 | AE PHE PROJECT SUB DN STORE UJJAIN 31.10.2017 to 04.11.2017 | AE PHE PROJECT SUB DN STORE UJJAIN 31.10.2017 to 04.11.2017 | AE PHE PROJECT SUB DN STORE UJJAIN 31.10.2017 to 04.11.2017 | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material | Name of Material
Date of Reciept / Issue | Indent No. / Date | Received /Issued | Head of Account | DI Pipe | DI Pipe | DI Pipe | DI Pipe | DI Pipe | DI Pipe | DI Pipe | DI Pipe | DI Pipe | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI D/F Sluice Valve | DI Bend 45 | DI Bend 45 | DI Bend 45 | DI Bend 90 | DI Bend 90 | DI Bend 90 | DI Bend 90 | DI Bend 90 | DI Bend 90 | DI Tee | DI Tee | DI Tee | DI Tee | DI Tee | DI Tee | DI Tee | DI Reducer | DI Reducer | DI Reducer | DI Reducer | DI Reducer | DI Reducer | DI Tail piece | DI Tail piece | DI Tail piece | DI Tail piece | DI Tail piece | DI Flange Spigot 100 mm | DI Flange Socket 100 mm | DI Mechanical joint | DI Mechanical joint | DI Mechanical joint | DI Mechanical joint | DI Mechanical joint | DI D/F Check Valve 400 mm | India Mark II Deep Well Hand pump set | India Mark II Extra Deep Well Hand pump set | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Pipe | GI Bend | GI Bend | GI Bend | GI Bend | GI Bend | GI Bend | GI Bend | GI Elbow | GI Elbow | GI Elbow | GI Elbow | GI Elbow | GI Elbow | GI Elbow | GI Elbow | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Tee | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Reducer | GI Socket | GI Socket | GI Socket | GI Socket | GI Socket | GI Socket | GI Socket | GI Socket | GI Plug | GI Plug | GI Plug | GI Plug | GI Plug | GI Plug | GI Union | GI Union | GI Union | GI Union | GI Union | GI Union | GI Union | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Nipples | GI Profle Sheet | PVC Pipe | PVC Pipe | PVC Pipe | UPVC Elbow | UPVC Elbow | UPVC Elbow | UPVC Elbow | UPVC Elbow | UPVC Elbow | UPVC Elbow | UPVC Tee | UPVC Tee | UPVC Tee | UPVC Tee | UPVC Tee | UPVC Coupler | UPVC Coupler | UPVC Coupler | UPVC Coupler | O Ring Coupler | O Ring Coupler | O Ring Coupler | O Ring Coupler | O Ring Coupler | PVC Bend | PVC Bend | UPVC Reducer | UPVC Reducer | UPVC Reducer | UPVC Reducer | UPVC Reducer | UPVC Reducer | UPVC MTA | UPVC MTA | UPVC MTA | UPVC MTA | UPVC FTA | UPVC FTA | UPVC FTA | UPVC FTA | UPVC FTA | PVC Sadal Clamp | PVC Sadal Clamp | PVC Sadal Clamp | PVC Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | Strap Sadal Clamp | PVC Valve | PVC Valve | PVC Valve | PVC Valve | PVC Valve | PVC Valve | PVC Solvent Cemet 250 ml | PVC Solvent Cemet 500 ml | HDPE Pipe | HDPE Pipe | HDPE Pipe | HDPE Pipe | HDPE Pipe | HDPE Pipe | HDPE Pipe | HDPE Pipe | But Jointing Machine 110- 200 mm | But Jointing Machine 250 - 315 mm | Electrofusion Machine | MDPE Pipe | MDPE Pipe | MDPE Pipe | MDPE Pipe | MDPE Pipe | MDPE Pipe | MDPE Pipe | Compression MTA | Compression MTA | Compression MTA | Compression FTA | Compression FTA | Compression FTA | Compression Tee | Compression Tee | Compression Tee | Compression Tee | Compression Tee | Compression Tee | Compression Elbow | Compression Elbow | Compression Elbow | Compression Elbow | Compression Coupler | Compression Coupler | Compression Coupler | Compression Coupler | Compression Ball Valve | Compression Ball Valve | Compression Ball Valve | C PVC Tee | C PVC Tee | C PVC Elbow | C PVC Elbow | C PVC Elbow | C PVC Elbow | C PVC Elbow | C PVC MTA | C PVC MTA | C PVC MTA | C PVC MTA | C PVC MTA | C PVC FTA | C PVC FTA | C PVC FTA | C PVC FTA | C PVC End Cap | C PVC End Cap | C PVC Ball Valve 32 mm | C PVC Ball Valve 50 mm | C PVC Reducer Bushing 32X25 mm | C PVC Reducer Coupler | C PVC Reducer Coupler | C PVC Reducer Coupler | C PVC Reducer Coupler | C PVC Reducer Coupler | C PVC Coupler | C PVC Coupler | C PVC Tanki Connector 25 mm | C PVC Tanki Connector 50 mm | C PVC Flot Valve 20 mm | Water Storage Tank (RMPWS) 2000 Ltr. | Water Storage Tank (RMPWS) 5000 Ltr. | Circular1.2 mtr ht. 2000 ltr. | Circular 3 mtr ht. 2000 ltr. | Sqr With Plate base 2000 ltr | Angle base With leg 2000 ltr | Angle base Without leg 2000 ltr | Circular 3 mtr ht. 5000 ltr. | Circular 1.2 mtr ht. 5000 ltr. | Sqr With Plate base 1.2 mtr ht. 5000 ltr | Angle base Without leg 5000 ltr | Angle base With leg 5000 ltr | Square Platbase 4 mtr ht. for 5000 ltr | MS Stand Circular 5 mtr ht. for 5000 ltr | CI D/F Pipe | CI D/F Pipe | CI D/F Pipe | Flanges 50 mm | CI Gate Valve | CI Gate Valve | CI Gate Valve | CI Gate Valve | CI Heavy Tape 15 mm | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI Sluice Valve | CI NRV | CI NRV | CI NRV | CI NRV | CI NRV | CI NRV | CI Double acting air valve | CI Double acting air valve | CI Double acting air valve | CI Single acting air valve | CI Single acting air valve | CI Single acting air valve | CI D/F Bend | CI D/F Bend | CI D/F Bend | CI D/F Bend | CI D/F Bend | CI D. Joint | CI D. Joint | CI D. Joint | CI D. Joint | CI D. Joint | Three Phase 5 HP Sub. Motor Pump 100 mm dia | Control Pannel 5 HP | Three Phase 7.5 HP Sub. Motor Pump 150 mm dia | Control Pannel 7.5 HP | MS Clamp With Nut bolt 50 mm | Single Phase Motar pump 100 mm dia D. 30 to 60 LPM H. 90 to 120 mtr | Single Phase Control Pannel | MS Clamp With Nut bolt 32 mm | Control Pannel | Control Pannel | Control Pannel | Control Pannel | Control Pannel _ TP( Aqua) 3HP | Portable Sub.Pumpset D.200 to 500 lpm H.6 m to 10 m 2 HP | Dewatering Pump | Booster Pump (NL) | Booster Pump (NL) | Booster Pump (NL) | Booster Pump (NL) | Darling Make openwel Submerslble Pump set 20 HP D.1800 lpm H.25 mtr | Opan well Motor pump Set 20 HP H. 25 mtr D. 1800 LPM | Centrifugal Motor pump Set 7.5 HP H. 28 mtr D. 780 LPM | PVC Cable | PVC Cable | PVC Cable | PVC Cable | Armoured cbe (Aluminium) 6 | Rope 12 mm | Starter 3 Phase | MS Box For Starter 45 CmX40CmX20Cm | Pipe Wreanch | Pipe Wreanch | Pipe Wreanch | Pipe Wreanch | Pipe Wreanch | Pipe Wreanch | Pipe Vice 32 mm | Fix Spanner set (12 PCS) | Ring Spanner set (12 PCS) | Screw driver set | Fiber Measuring tape (30 mtr) | Steel Measuring Tape | Steel Measuring Tape | Hacksaw blade | Hacksaw blade | Hacksaw blade with frame | Hammer with handle | Hammer with handle | Pick Axe | Spade | Wooden Handle | PVC Pan | Crrrowbar | Survey Umbrella | Bucket (Balti) | Player | CI Pan | Tafloon Tape | PVC Half Tape | BIB Cock Polo Tape 15 mm | Tanki Connector | MS Clamp | MS Clamp | MS Clamp | MS Clamp | MS Reducer 250 x 150 mm | MS Pipe | MS Pipe | Pressure guage | MS Flange | MS Flange | MS Tee 150 mm | MS Bend (90° ) 150 mm | Hose Clip | Hose Clip | Hose Clip | MS Angle | MS Angle | Casing cap 200 mm | Hose Pipe | Hose Pipe | Hose Pipe | Hose Nipple 32 mm | Stand post (Elbow tee Nipple) 1 mtr | Celling Fan | Exaust FanExaust FanExaust Fan | Tublight | Flow Meter Set | Flow Meter Set | Flow Meter Set | Chainlink 25x25 (Fencig ) | MS.Gate110 x 2.15 mtr | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | Vertical Sewage Submersible Motor Pump set | L T Panel 415 Volt | Control Pannel 80 HP | Control Pannel 60 HP | Control Pannel 45 HP | Control Pannel 30 HP | Control Pannel 25 HP | Control Pannel 20 HP | Control Pannel 17.5 HP | Control Pannel 12.5 HP | Control Pannel 15 HP | Control Pannel 10 HP | DWC Pipe | DWC Pipe | DWC Pipe | DWC Pipe | DWC Pipe | HDPE Manhole | HDPE Manhole | SFRC Main Hole Frame & Cover 560 mm dia HD.20 | L D Ring | Cable | Cable | Cable | Cable | Cable | Cable | Rubber Gasket | Rubber Gasket | Rubber Gasket | Wooden Board | Woodem Board | Distribution Board (200 A) | Street Light | Light Point | Fan Point | 3 - Pin | MS.L.J.T o& Pipes & Specials Made out & MS Steel plate | Steel Welded work (angale. Channel. girder. door .Window) | Alum Lugs | 65 mm dai GI Delevery pipe 1 no NRV 1no Handle Ball Valve | Fir Hose pipe 100 mm dia
Date of Reciept / Issue | Indent No. / Date | Received /Issued | Head of Account | K-9 | K-9 | K-9 | K-9 | K-9 | K-7 | K-7 | K-7 | K-7 | 50mm | 100mm | 150mm | 200mm | 250mm | 300mm | 500mm | 400mm | 350mm | 300mm | 350mm | 400mm | 100mm | 150mm | 350mm | 400mm | 450mm | 500mm | 100X100X100 mm | 350X350X200 mm | 350X350X350 mm | 400X400X200 mm | 400X400X300 mm | 450X450X250 mm | 500X500X400 mm | 350X200 mm | 400X350 mm | 450X200 mm | 450X350 mm | 500X400 mm | 500X450 mm | 300 mm | 350 mm | 400 mm | 450 mm | 500 mm | DI Flange Spigot 100 mm | DI Flange Socket 100 mm | 100 mm | 300 mm | 350 mm | 400 mm | 450 mm | DI D/F Check Valve 400 mm | India Mark II Deep Well Hand pump set | India Mark II Extra Deep Well Hand pump set | 15 mm dia | 20 mm dia | 25 mm dia | 32 mm dia | 40 mm dia | 50 mm dia | 65 mm dia | 80 mm dia | 100 mm dia | 150 mm dia | 15 mm dia | 20 mm dia | 25 mm dia | 32 mm dia | 50 mm dia | 65 mm dia | 80 mm dia | 15 mm dia | 20 mm dia | 25 mm dia | 32 mm dia | 50 mm dia | 65 mm dia | 80 mm dia | 100 mm dia | 15X15X15 mm | 20X20X15 mm | 20X20X20 mm | 25X25X15 mm | 25X25X20 mm | 32X32X15 mm | 32X32X25 mm | 50X50X15 mm | 50X50X20 mm | 50X50X32 mm | 65X65X65 mm | 100X100X100 mm | 20X15 mm | 20X25 mm | 25X15 mm | 32X15 mm | 32X20 mm | 32X25 mm | 50X32 mm | 65X50 mm | 80X65 mm | 100X65 mm | 150X100 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 80 mm | 100 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 100 mm | 15X75 mm | 15X100 mm | 15X250 mm | 20X75 mm | 20X100 mm | 20X150 mm | 25X100 mm | 25X150 mm | 32X100 mm | 50X100 mm | GI Profle Sheet | 90 mmX10kg | 110 mmX10kg | 110 mmX6kg | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 110 mm | 15 mm | 20 mm | 25 mm | 32 mm | 110 mm | 15 mm | 25 mm | 63 mm | 110 mm | 110 mm | 160 mm | 200 mm | 250 mm | 315 mm | 110X45 mm | 110X90 mm | 20X15 mm | 25X15 mm | 25X20 mm | 32X15 mm | 32X20 mm | 63X32 mm | 15 mm | 20 mm | 25 mm | 63 mm | 15 mm | 20 mm | 25 mm | 32 mm | 63 mm | 40X20 mm | 50X20 mm | 63X20 mm | 110X25 mm | 110X20 mm | 110X25 mm | 110X32 mm | 160X20 mm | 160X25 mm | 160X32 mm | 200X20 mm | 200X25 mm | 200X32 mm | 250X20 mm | 250X25 mm | 250X32 mm | 250X50 mm | 315X20 mm | 315X25 mm | 315X32 mm | 315X50 mm | 20 mm | 25 mm | 32 mm | 40 mm | 50 mm | 63 mm | PVC Solvent Cemet 250 ml | PVC Solvent Cemet 500 ml | 20 mmX 10kg/sq | 25 mmX 8kg/sq | 40mm OD | 110 mm X 8kg/cm | 160 mm X 8kg/cm | 200 mm X 8kg/cm | 250 mm X 8kg/cm | 315 mm X 8kg/cm | But Jointing Machine 110- 200 mm | But Jointing Machine 250 - 315 mm | Electrofusion Machine | 15 mm | 20 mm | 25 mm | 32 mm | 40 mm | 50 mm | 63 mm | 20 mm | 25 mm | 32 mm | 20 mm | 25 mm | 32 mm | 20 mm | 25 mm | 32 mm | 40 mm | 50 mm | 63 mm | 20 mm | 25 mm | 32 mm | 40 mm | 20 mm | 25 mm | 32 mm | 40 mm | 20 mm | 25 mm | 32 mm | 15 mm | 25 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 15 mm | 20 mm | 25 mm | 32 mm | 15 mm | 32 mm | C PVC Ball Valve 32 mm | C PVC Ball Valve 50 mm | C PVC Reducer Bushing 32X25 mm | 25X15 mm | 25X20 mm | 32X20 mm | 50X20 mm | 50X32 mm | 15 mm | 32 mm | C PVC Tanki Connector 25 mm | C PVC Tanki Connector 50 mm | C PVC Flot Valve 20 mm | Water Storage Tank (RMPWS) 2000 Ltr. | Water Storage Tank (RMPWS) 5000 Ltr. | Circular1.2 mtr ht. 2000 ltr. | Circular 3 mtr ht. 2000 ltr. | Sqr With Plate base 2000 ltr | Angle base With leg 2000 ltr | Angle base Without leg 2000 ltr | Circular 3 mtr ht. 5000 ltr. | Circular 1.2 mtr ht. 5000 ltr. | Sqr With Plate base 1.2 mtr ht. 5000 ltr | Angle base Without leg 5000 ltr | Angle base With leg 5000 ltr | Square Platbase 4 mtr ht. for 5000 ltr | MS Stand Circular 5 mtr ht. for 5000 ltr | 80 mm | 150 mm | 200 mm | Flanges 50 mm | 32 mm | 50 mm | 65 mm | 80 mm | CI Heavy Tape 15 mm | 80 mm | 100 mm | 125 mm | 150 mm | 200 mm | 250 mm | 300 mm | 350 mm | 400 mm | 450 mm | 500 mm | 50 mm | 80 mm | 100 mm | 150 mm | 200 mm | 300 mm | 40 mm | 50 mm | 80 mm | 40 mm | 50 mm | 80 mm | 80 mm | 100 mm | 150 mm | 200 mm | 315 mm | 110 mm | 160 mm | 200 mm | 250 mm | 315 mm | Three Phase 5 HP Sub. Motor Pump 100 mm dia | Control Pannel 5 HP | Three Phase 7.5 HP Sub. Motor Pump 150 mm dia | Control Pannel 7.5 HP | MS Clamp With Nut bolt 50 mm | Single Phase Motar pump 100 mm dia D. 30 to 60 LPM H. 90 to 120 mtr | Single Phase Control Pannel | MS Clamp With Nut bolt 32 mm | 7.5 HP | 20 HP | 25 HP | 40 HP | Control Pannel _ TP( Aqua) 3HP | Portable Sub.Pumpset D.200 to 500 lpm H.6 m to 10 m 2 HP | Dewatering Pump | 15-80 cum/hr 6.5 bar | 80-320 cum/hr 2.4 bar | 40-360 cum/hr 3 bar | 40-360 cum/hr 1.8 bar | Darling Make openwel Submerslble Pump set 20 HP D.1800 lpm H.25 mtr | Opan well Motor pump Set 20 HP H. 25 mtr D. 1800 LPM | Centrifugal Motor pump Set 7.5 HP H. 28 mtr D. 780 LPM | 1.5 | 2.5 | 4 | 6 | Armoured cbe (Aluminium) 6 | Rope 12 mm | Starter 3 Phase | MS Box For Starter 45 CmX40CmX20Cm | 8" | 10" | 12" | 14" | 18" | 24" | Pipe Vice 32 mm | Fix Spanner set (12 PCS) | Ring Spanner set (12 PCS) | Screw driver set | Fiber Measuring tape (30 mtr) | 15 mtr | 30 mtr | one side | Two side | Hacksaw blade with frame | 500 gms | 600 gms | Pick Axe | Spade | Wooden Handle | PVC Pan | Crrrowbar | Survey Umbrella | Bucket (Balti) | Player | CI Pan | Tafloon Tape | PVC Half Tape | BIB Cock Polo Tape 15 mm | Tanki Connector | 350 mm | 400 mm | 450 mm | 500 mm | MS Reducer 250 x 150 mm | 100 mm | 150 mm | Pressure guage | 100 mm | 150 mm | MS Tee 150 mm | MS Bend (90° ) 150 mm | 50 mm | 65 mm | 100 mm | 50x50x5 mm | 35x35x5 mm | Casing cap 200 mm | 65 mm | 75 mm | 100 mm | Hose Nipple 32 mm | Stand post (Elbow tee Nipple) 1 mtr | Celling Fan | Exaust FanExaust FanExaust Fan | Tublight | 100 mm | 300 mm | 500 mm | Chainlink 25x25 (Fencig ) | MS.Gate110 x 2.15 mtr | D.19504 LPM Hed 34 m 215 HP | D.19500 LPM Hed 34 m 215 HP | D. 9750 LPM Head 34 m 120 HP | D. 8313 LPM Head 28 m 80 HP | D. 9695 LPM Head 17 m 60 HP | D. 4157 LPM Head 28 m 45 HP | D. 4848 LPM Head 17 m 30 HP | D. 1878 LPM Head 26 m 25 HP | D 3021 LPM Head 15 HP 20 | D. 2848 Lpm Head 15 m 17.50 HP | D. 396 Lpm Head 37 m 15 HP | D. 939 Lpm Head 26 m 15 HP | D. 198 Lpm Head 37 m 15 HP | D.1511 Lpm Head 15 m 12.50 HP | D. 1424 Lpm Head 15 m 10 HP | L T Panel 415 Volt | Control Pannel 80 HP | Control Pannel 60 HP | Control Pannel 45 HP | Control Pannel 30 HP | Control Pannel 25 HP | Control Pannel 20 HP | Control Pannel 17.5 HP | Control Pannel 12.5 HP | Control Pannel 15 HP | Control Pannel 10 HP | 100/120 mm | 135/150 mm | 170/200 mm | 400/480 mm | 500/580 mm | 500 x 700 mm | 600 x 950 mm | SFRC Main Hole Frame & Cover 560 mm dia HD.20 | L D Ring | 25 Sqmm | 35 Sqmm | XLPE 3.5Core 240mm2 | 70mm2 | 95 mm2 | 16 mm2 | 300 mm Dia | 350 mm Dia | 400 mm Dia | With 4 No Kit Kat Fuse of 32 A | With 4 No Kit Kat Fuse of 63 A | Distribution Board (200 A) | Street Light | Light Point | Fan Point | 3 - Pin | MS.L.J.T o& Pipes & Specials Made out & MS Steel plate | Steel Welded work (angale. Channel. girder. door .Window) | Alum Lugs | 65 mm dai GI Delevery pipe 1 no NRV 1no Handle Ball Valve | Fir Hose pipe 100 mm dia
Date of Reciept / Issue | Indent No. / Date | Received /Issued | Head of Account | 100mm | 200mm | 300mm | 500mm | 700mm | 350mm | 400mm | 450mm | 500mm | 50mm | 100mm | 150mm | 200mm | 250mm | 300mm | 500mm | 400mm | 350mm | 300mm | 350mm | 400mm | 100mm | 150mm | 350mm | 400mm | 450mm | 500mm | 100X100X100 mm | 350X350X200 mm | 350X350X350 mm | 400X400X200 mm | 400X400X300 mm | 450X450X250 mm | 500X500X400 mm | 350X200 mm | 400X350 mm | 450X200 mm | 450X350 mm | 500X400 mm | 500X450 mm | 300 mm | 350 mm | 400 mm | 450 mm | 500 mm | DI Flange Spigot 100 mm | DI Flange Socket 100 mm | 100 mm | 300 mm | 350 mm | 400 mm | 450 mm | DI D/F Check Valve 400 mm | India Mark II Deep Well Hand pump set | India Mark II Extra Deep Well Hand pump set | 15 mm dia | 20 mm dia | 25 mm dia | 32 mm dia | 40 mm dia | 50 mm dia | 65 mm dia | 80 mm dia | 100 mm dia | 150 mm dia | 15 mm dia | 20 mm dia | 25 mm dia | 32 mm dia | 50 mm dia | 65 mm dia | 80 mm dia | 15 mm dia | 20 mm dia | 25 mm dia | 32 mm dia | 50 mm dia | 65 mm dia | 80 mm dia | 100 mm dia | 15X15X15 mm | 20X20X15 mm | 20X20X20 mm | 25X25X15 mm | 25X25X20 mm | 32X32X15 mm | 32X32X25 mm | 50X50X15 mm | 50X50X20 mm | 50X50X32 mm | 65X65X65 mm | 100X100X100 mm | 20X15 mm | 20X25 mm | 25X15 mm | 32X15 mm | 32X20 mm | 32X25 mm | 50X32 mm | 65X50 mm | 80X65 mm | 100X65 mm | 150X100 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 80 mm | 100 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 100 mm | 15X75 mm | 15X100 mm | 15X250 mm | 20X75 mm | 20X100 mm | 20X150 mm | 25X100 mm | 25X150 mm | 32X100 mm | 50X100 mm | GI Profle Sheet | 90 mmX10kg | 110 mmX10kg | 110 mmX6kg | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 65 mm | 110 mm | 15 mm | 20 mm | 25 mm | 32 mm | 110 mm | 15 mm | 25 mm | 63 mm | 110 mm | 110 mm | 160 mm | 200 mm | 250 mm | 315 mm | 110X45 mm | 110X90 mm | 20X15 mm | 25X15 mm | 25X20 mm | 32X15 mm | 32X20 mm | 63X32 mm | 15 mm | 20 mm | 25 mm | 63 mm | 15 mm | 20 mm | 25 mm | 32 mm | 63 mm | 40X20 mm | 50X20 mm | 63X20 mm | 110X25 mm | 110X20 mm | 110X25 mm | 110X32 mm | 160X20 mm | 160X25 mm | 160X32 mm | 200X20 mm | 200X25 mm | 200X32 mm | 250X20 mm | 250X25 mm | 250X32 mm | 250X50 mm | 315X20 mm | 315X25 mm | 315X32 mm | 315X50 mm | 20 mm | 25 mm | 32 mm | 40 mm | 50 mm | 63 mm | PVC Solvent Cemet 250 ml | PVC Solvent Cemet 500 ml | 20 mmX 10kg/sq | 25 mmX 8kg/sq | 40mm OD | 110 mm X 8kg/cm | 160 mm X 8kg/cm | 200 mm X 8kg/cm | 250 mm X 8kg/cm | 315 mm X 8kg/cm | But Jointing Machine 110- 200 mm | But Jointing Machine 250 - 315 mm | Electrofusion Machine | 15 mm | 20 mm | 25 mm | 32 mm | 40 mm | 50 mm | 63 mm | 20 mm | 25 mm | 32 mm | 20 mm | 25 mm | 32 mm | 20 mm | 25 mm | 32 mm | 40 mm | 50 mm | 63 mm | 20 mm | 25 mm | 32 mm | 40 mm | 20 mm | 25 mm | 32 mm | 40 mm | 20 mm | 25 mm | 32 mm | 15 mm | 25 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 15 mm | 20 mm | 25 mm | 32 mm | 50 mm | 15 mm | 20 mm | 25 mm | 32 mm | 15 mm | 32 mm | C PVC Ball Valve 32 mm | C PVC Ball Valve 50 mm | C PVC Reducer Bushing 32X25 mm | 25X15 mm | 25X20 mm | 32X20 mm | 50X20 mm | 50X32 mm | 15 mm | 32 mm | C PVC Tanki Connector 25 mm | C PVC Tanki Connector 50 mm | C PVC Flot Valve 20 mm | Water Storage Tank (RMPWS) 2000 Ltr. | Water Storage Tank (RMPWS) 5000 Ltr. | Circular1.2 mtr ht. 2000 ltr. | Circular 3 mtr ht. 2000 ltr. | Sqr With Plate base 2000 ltr | Angle base With leg 2000 ltr | Angle base Without leg 2000 ltr | Circular 3 mtr ht. 5000 ltr. | Circular 1.2 mtr ht. 5000 ltr. | Sqr With Plate base 1.2 mtr ht. 5000 ltr | Angle base Without leg 5000 ltr | Angle base With leg 5000 ltr | Square Platbase 4 mtr ht. for 5000 ltr | MS Stand Circular 5 mtr ht. for 5000 ltr | 80 mm | 150 mm | 200 mm | Flanges 50 mm | 32 mm | 50 mm | 65 mm | 80 mm | CI Heavy Tape 15 mm | 80 mm | 100 mm | 125 mm | 150 mm | 200 mm | 250 mm | 300 mm | 350 mm | 400 mm | 450 mm | 500 mm | 50 mm | 80 mm | 100 mm | 150 mm | 200 mm | 300 mm | 40 mm | 50 mm | 80 mm | 40 mm | 50 mm | 80 mm | 80 mm | 100 mm | 150 mm | 200 mm | 315 mm | 110 mm | 160 mm | 200 mm | 250 mm | 315 mm | Three Phase 5 HP Sub. Motor Pump 100 mm dia | Control Pannel 5 HP | Three Phase 7.5 HP Sub. Motor Pump 150 mm dia | Control Pannel 7.5 HP | MS Clamp With Nut bolt 50 mm | Single Phase Motar pump 100 mm dia D. 30 to 60 LPM H. 90 to 120 mtr | Single Phase Control Pannel | MS Clamp With Nut bolt 32 mm | 7.5 HP | 20 HP | 25 HP | 40 HP | Control Pannel _ TP( Aqua) 3HP | Portable Sub.Pumpset D.200 to 500 lpm H.6 m to 10 m 2 HP | Dewatering Pump | 15-80 cum/hr 6.5 bar | 80-320 cum/hr 2.4 bar | 40-360 cum/hr 3 bar | 40-360 cum/hr 1.8 bar | Darling Make openwel Submerslble Pump set 20 HP D.1800 lpm H.25 mtr | Opan well Motor pump Set 20 HP H. 25 mtr D. 1800 LPM | Centrifugal Motor pump Set 7.5 HP H. 28 mtr D. 780 LPM | 1.5 | 2.5 | 4 | 6 | Armoured cbe (Aluminium) 6 | Rope 12 mm | Starter 3 Phase | MS Box For Starter 45 CmX40CmX20Cm | 8" | 10" | 12" | 14" | 18" | 24" | Pipe Vice 32 mm | Fix Spanner set (12 PCS) | Ring Spanner set (12 PCS) | Screw driver set | Fiber Measuring tape (30 mtr) | 15 mtr | 30 mtr | one side | Two side | Hacksaw blade with frame | 500 gms | 600 gms | Pick Axe | Spade | Wooden Handle | PVC Pan | Crrrowbar | Survey Umbrella | Bucket (Balti) | Player | CI Pan | Tafloon Tape | PVC Half Tape | BIB Cock Polo Tape 15 mm | Tanki Connector | 350 mm | 400 mm | 450 mm | 500 mm | MS Reducer 250 x 150 mm | 100 mm | 150 mm | Pressure guage | 100 mm | 150 mm | MS Tee 150 mm | MS Bend (90° ) 150 mm | 50 mm | 65 mm | 100 mm | 50x50x5 mm | 35x35x5 mm | Casing cap 200 mm | 65 mm | 75 mm | 100 mm | Hose Nipple 32 mm | Stand post (Elbow tee Nipple) 1 mtr | Celling Fan | Exaust FanExaust FanExaust Fan | Tublight | 100 mm | 300 mm | 500 mm | Chainlink 25x25 (Fencig ) | MS.Gate110 x 2.15 mtr | D.19504 LPM Hed 34 m 215 HP | D.19500 LPM Hed 34 m 215 HP | D. 9750 LPM Head 34 m 120 HP | D. 8313 LPM Head 28 m 80 HP | D. 9695 LPM Head 17 m 60 HP | D. 4157 LPM Head 28 m 45 HP | D. 4848 LPM Head 17 m 30 HP | D. 1878 LPM Head 26 m 25 HP | D 3021 LPM Head 15 HP 20 | D. 2848 Lpm Head 15 m 17.50 HP | D. 396 Lpm Head 37 m 15 HP | D. 939 Lpm Head 26 m 15 HP | D. 198 Lpm Head 37 m 15 HP | D.1511 Lpm Head 15 m 12.50 HP | D. 1424 Lpm Head 15 m 10 HP | L T Panel 415 Volt | Control Pannel 80 HP | Control Pannel 60 HP | Control Pannel 45 HP | Control Pannel 30 HP | Control Pannel 25 HP | Control Pannel 20 HP | Control Pannel 17.5 HP | Control Pannel 12.5 HP | Control Pannel 15 HP | Control Pannel 10 HP | 100/120 mm | 135/150 mm | 170/200 mm | 400/480 mm | 500/580 mm | 500 x 700 mm | 600 x 950 mm | SFRC Main Hole Frame & Cover 560 mm dia HD.20 | L D Ring | 25 Sqmm | 35 Sqmm | XLPE 3.5Core 240mm2 | 70mm2 | 95 mm2 | 16 mm2 | 300 mm Dia | 350 mm Dia | 400 mm Dia | With 4 No Kit Kat Fuse of 32 A | With 4 No Kit Kat Fuse of 63 A | Distribution Board (200 A) | Street Light | Light Point | Fan Point | 3 - Pin | MS.L.J.T o& Pipes & Specials Made out & MS Steel plate | Steel Welded work (angale. Channel. girder. door .Window) | Alum Lugs | 65 mm dai GI Delevery pipe 1 no NRV 1no Handle Ball Valve | Fir Hose pipe 100 mm dia
Unit | Unit | Unit | Unit | mtr | mtr | mtr | mtr | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | noe | noe | noe | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | set | set | mtr | mtr | mtr | mtr | mtr | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | mtr | mtr | mtr | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | mtr | mtr | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | set | nos | set | nos | set | set | nos | set | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | mtr | mtr | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | set | set | set | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | set | set | set | set | nos | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | nos | mtr | mtr | mtr | mtr | mtr | mtr | nos | nos | nos | nos | nos | nos | nos | nos | nos | nos | Kg | kg | nos | nos | mtr
S. No. | S. No. | S. No. | S. No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153 | 154 | 155 | 156 | 157 | 158 | 159 | 160 | 161 | 162 | 163 | 164 | 165 | 166 | 167 | 168 | 169 | 170 | 171 | 172 | 173 | 174 | 175 | 176 | 177 | 178 | 179 | 180 | 181 | 182 | 183 | 185 | 186 | 187 | 188 | 189 | 190 | 191 | 192 | 193 | 194 | 195 | 196 | 197 | 198 | 199 | 200 | 201 | 202 | 203 | 204 | 205 | 206 | 207 | 208 | 209 | 210 | 211 | 212 | 213 | 214 | 215 | 216 | 217 | 218 | 219 | 220 | 221 | 222 | 223 | 224 | 225 | 226 | 227 | 228 | 229 | 230 | 231 | 232 | 233 | 234 | 235 | 236 | 237 | 238 | 239 | 240 | 241 | 242 | 243 | 244 | 245 | 246 | 247 | 248 | 249 | 250 | 251 | 252 | 253 | 254 | 255 | 256 | 257 | 258 | 259 | 260 | 261 | 262 | 263 | 264 | 265 | 266 | 267 | 268 | 269 | 270 | 271 | 272 | 273 | 274 | 275 | 276 | 277 | 278 | 279 | 280 | 281 | 282 | 283 | 284 | 285 | 286 | 287 | 288 | 289 | 290 | 291 | 292 | 293 | 294 | 295 | 296 | 297 | 298 | 299 | 300 | 301 | 302 | 303 | 304 | 305 | 306 | 307 | 308 | 309 | 310 | 311 | 312 | 313 | 314 | 315 | 316 | 317 | 318 | 319 | 320 | 321 | 322 | 323 | 324 | 325 | 326 | 327 | 328 | 329 | 330 | 331 | 332 | 333 | 334 | 335 | 336 | 337 | 338 | 339 | 340 | 341 | 342 | 343 | 344 | 345 | 346 | 347 | 348 | 349 | 350 | 351 | 352 | 353 | 354 | 355 | 356 | 357 | 358 | 359 | 360 | 361 | 362 | 363 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 372 | 373 | 374 | 375 | 376 | 377 | 378 | 379 | 380 | 381 | 382 | 383 | 384 | 385 | 386 | 387 | 388 | 389 | 390 | 391 | 392 | 393 | 394 | 395 | 396 | 397 | 398 | 399 | 400 | 401 | 402 | 403 | 404 | 405 | 406 | 407 | 408 | 409 | 410 | 411 | 412 | 413 | 414 | 415 | 416 | 417 | 418 | 419 | 420 | 421 | 422 | 423 | 424 | 425 | 426 | 427 | 428 | 429 | 430 | 431 | 432 | 433 | 434 | 435 | 436 | 437 | 438 | 439 | 440 | 441 | 442 | 443 | 444 | 445 | 446 | 447 | 448 | 449 | 450 | 451 | 452 | 453 | 454 | 455 | 456 | 458 | 459 | 460 | 461 | 462 | 463 | 464 | 465 | 466 | 467 | 468 | 469 | 470 | 471 | 472 | 473 | 474 | 475 | 476 | 477 | 478 | 479 | 480 | 481 | 482 | 483 | 484
Opening Balance | Opening Balance | Opening Balance | Opening Balance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Received during the month | Received during the month | Received during the month | Received during the month
Total Received during the month | Total Received during the month | Total Received during the month | Total Received during the month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Upto date Received | Total Upto date Received | Total Upto date Received | Total Upto date Received
Issue during the month | Issue during the month | Issue during the month | Issue during the month
Total Issue during the month | Total Issue during the month | Total Issue during the month | Total Issue during the month | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Closing Balance | Closing Balance | Closing Balance | Closing Balance